## Asset Register Batam
No | Lokasi Data Center | Jenis Perangkat | Nama Asset (Sesuai Nama Asset di DCFC) | Type | Lantai | Kapasitas |  | Tahun Perangkat Beroperasi | DC Hall yang disupply | PIC Maintenance | Type Maintenance
1 | neuCentrIX Batam | PAC | PAC 1 | Down Flow CITEC ESD60AAS | Lantai 3 | 60 | Kw | 2016 | IT Hall | PT. Vektordaya Mekatrika | Preventive & Corrective
|  |  | PAC 2 | Down Flow CITEC ESD60AAS | Lantai 3 | 60 | Kw | 2016 | IT Hall | PT. Vektordaya Mekatrika | Preventive & Corrective
|  |  | PAC 3 | Down Flow CITEC ESD60AAS | Lantai 3 | 60 | Kw | 2021 | IT Hall | PT. Vektordaya Mekatrika | Preventive & Corrective
|  |  | PAC 4 | Down Flow CLIMAVENETA DAU100-S | Lantai 3 | 60 | Kw | 2023 | IT Hall | PT. Cahaya Mutiara Mandiri | Garansi
2 | neuCentrIX Batam | AC Split | AC 1 | FTNE20JEV14 | Lantai 3 | 3/4 | PK | 2016 | AC Split MMR 1 | PT. Jeger Pasifik Indonesia | Preventive & Corrective
|  |  | AC 2 | FTNE50JEV14 | Lantai 3 | 2 | PK | 2016 | AC Split MMR 2 | PT. Jeger Pasifik Indonesia | Preventive & Corrective
|  |  | AC 3 | FTNE50JEV14 | Lantai 3 | 2 | PK | 2016 | AC Split MMR 3 | PT. Jeger Pasifik Indonesia | Preventive & Corrective
|  |  | AC 4 | FTNE25JEV14 | Lantai 1 | 1 | PK | 2016 | AC Split PDU 1 | PT. Jeger Pasifik Indonesia | Preventive & Corrective
|  |  | AC 5 | FTNE50MU14 | Lantai 1 | 2 | PK | 2016 | AC Split R. UPS 1 | PT. Jeger Pasifik Indonesia | Preventive & Corrective
|  |  | AC 6 | FTNE50MU14 | Lantai 1 | 2 | PK | 2016 | AC Split R. UPS 2 | PT. Jeger Pasifik Indonesia | Preventive & Corrective
|  |  | AC 7 | FTNE25JEV14 | Lantai 1 | 1 | PK | 2016 | AC Split R. UPS 3 | PT. Jeger Pasifik Indonesia | Preventive & Corrective
|  |  | AC 8 | FTNE25JEV14 | Lantai 1 | 1 | PK | 2016 | AC Split R. UPS 4 | PT. Jeger Pasifik Indonesia | Preventive & Corrective
|  |  | AC 9 | FTNE25JEV14 | Lantai 1 | 2 | PK | 2021 | AC Split R. UPS 5 | PT. Jeger Pasifik Indonesia | Preventive & Corrective
|  |  | AC 10 | FTNE50MU14 | Lantai 1 | 2 | PK | 2016 | AC Split R. Battrey 1 | PT. Jeger Pasifik Indonesia | Preventive & Corrective
|  |  | AC 11 | FTNE50MU14 | Lantai 1 | 2 | PK | 2016 | AC Split R. Battrey 2 | PT. Jeger Pasifik Indonesia | Preventive & Corrective
|  |  | AC 12 | FTNE25JEV14 | Lantai 1 | 1 | PK | 2016 | AC Split R. CCTV | PT. Jeger Pasifik Indonesia | Preventive & Corrective
|  |  | AC 13 | FTNE25JEV14 | Lantai 1 | 1 | PK | 2016 | AC Split R. Panel Lt 1 | PT. Jeger Pasifik Indonesia | Preventive & Corrective
|  |  | AC 14 | FTNE25JEV14 | Lantai 2 | 1 | PK | 2016 | AC Split R. MMR Lt 2 | PT. Jeger Pasifik Indonesia | Preventive & Corrective
3 | neuCentrIX Batam | UPS | UPS A | ABB DPA Modular Frame | Lantai 1 | 4 x 50 | kVA | 2016 / 2022 | Utility Room | PT. Vektor Daya Mekatrika | Preventive & Corrective
|  |  | UPS B | ABB DPA Modular Frame | Lantai 1 | 3 x 50 | kVA | 2016 / 2022 | Utility Room | PT. Vektor Daya Mekatrika | Preventive & Corrective
|  |  | Battery Bank A | Batery Sunstone VRLA ML Series 12v 120ah AGM | Lantai 1 | 100 | Unit | 2025 | Utility Room | PT. Vektor Daya Mekatrika | Preventive & Corrective
|  |  | Battery Bank B | Batery Sunstone VRLA ML Series 12v 120ah AGM | Lantai 1 | 50 | Unit | 2016 / 2022 | Utility Room | PT. Vektor Daya Mekatrika | Preventive & Corrective
4 | neuCentrIX Batam | FAP-FSS | Panel | Panel Pyroshield Aries - Kidde Fenwal | Lantai 3 | 1 | Unit | 2016 | Koridor Staging Room | PT. Bristol Asia Technology | Preventive & Corrective
|  |  | Phyroshield Agent Cylinder | Phyroshield Agent Cylinder | Lantai 1 dan 3 | 32 | Unit | 2016 | MMR , Utility & IT Hall | PT. Bristol Asia Technology | Preventive & Corrective
|  |  | Photoelectric Smoke Detector | Photoelectric Smoke Detector | Lantai 1 dan 3 | 32 | Unit | 2016 | MMR , Utility & IT Hall | PT. Bristol Asia Technology | Preventive & Corrective
|  |  | Nozzle | Nozzle | Lantai 1 dan 3 | 4 | Unit | 2016 | MMR , Utility & IT Hall | PT. Bristol Asia Technology | Preventive & Corrective
|  |  | Manual Push Station | Manual Push Station | Lantai 1 dan 3 | 3 | Unit | 2016 | MMR , Utility & IT Hall | PT. Bristol Asia Technology | Preventive & Corrective
|  |  | Abort | Abort | Lantai 1 dan 3 | 3 | Unit | 2016 | MMR , Utility & IT Hall | PT. Bristol Asia Technology | Preventive & Corrective
|  |  | Multitone Horn Strobe | Multitone Horn Strobe | Lantai 1 dan 3 | 3 | Unit | 2016 | MMR , Utility & IT Hall | PT. Bristol Asia Technology | Preventive & Corrective
|  |  | Evacuate Sign | Evacuate Sign | Lantai 1 dan 3 | 3 | Unit | 2016 | MMR , Utility & IT Hall | PT. Bristol Asia Technology | Preventive & Corrective
5 | neuCentrIX Batam | Access Door | Finger Print | Finger Print Biolite Net Suprema BLNM-OC | Lantai 1 dan 3 | 7 | Unit | 2016 | All Room | PT. Bristol Asia Technology | Preventive & Corrective
|  |  | Magnetic | EM - LOCK 500 Lbs | Lantai 1 dan 3 | 7 | Unit | 2016 | All Room | PT. Bristol Asia Technology | Preventive & Corrective
|  |  | Push Button | Push Button | Lantai 1 dan 3 | 7 | Unit | 2016 | All Room | PT. Bristol Asia Technology | Preventive & Corrective
|  |  | Emergency Door Release | Emergency Door Release | Lantai 1 dan 3 | 7 | Unit | 2016 | All Room | PT. Bristol Asia Technology | Preventive & Corrective
6 | neuCentrIX Batam | CCTV | NVR | HIK-Vision DS-7616NI-E2/16P | Lantai 1 | 1 | Unit | 2016 | Meet Me Room | PT. Bristol Asia Technology | Preventive & Corrective
|  |  | Camera | Hikvision DS-2CD2110F-I | Lantai 1 | 5 | Unit | 2016 | All Room | PT. Bristol Asia Technology | Preventive & Corrective
|  |  | TV | PANASONIX C44EAC0C979C | Lantai 1 | 2 | Unit | 2016 | NOC | PT. Bristol Asia Technology | Preventive & Corrective
|  |  | TV | PANASONIX C44EAC0B7C7A | Lantai 1 | 1 | Unit | 2022 | NOC | PT. Bristol Asia Technology | Preventive & Corrective
7 | neuCentrIX Batam | Network | Core Switch | Cisco Nexus 7000 Series Switches N7K-C7010 | Lantai 3 | 1 | Unit | 2016 | Meet Me Room |  | Preventive & Corrective
|  |  | Switch | Cisco Catalyst 2960 X - 24 PORT WS-C2960X-24TD-L | Lantai 3 | 2 | Unit | 2016 | IT HALL |  | Preventive & Corrective
8 | neuCentrIX Batam | Rack | Rak Server 42 U | Rak Server 19 " | Lantai 3 | 2 | Unit | 2016 / 2022 | Meet Me Room
|  |  | Rak Server 42 U | Rak Server 19 " | Lantai 3 | 40 | Unit | 2016 / 2022 | IT Hall Lt.3
|  |  | N-BTM-L3-01-001 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
|  |  | N-BTM-L3-01-002 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
|  |  | N-BTM-L3-01-003 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
|  |  | N-BTM-L3-01-004 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
|  |  | N-BTM-L3-01-005 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
|  |  | N-BTM-L3-01-006 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
|  |  | N-BTM-L3-01-007 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
|  |  | N-BTM-L3-01-008 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
|  |  | N-BTM-L3-01-009 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
|  |  | N-BTM-L3-01-010 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
|  |  | N-BTM-L3-02-001 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
|  |  | N-BTM-L3-02-002 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
|  |  | N-BTM-L3-02-003 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
|  |  | N-BTM-L3-02-004 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
|  |  | N-BTM-L3-02-005 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
|  |  | N-BTM-L3-02-006 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
|  |  | N-BTM-L3-02-007 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
|  |  | N-BTM-L3-02-008 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
|  |  | N-BTM-L3-02-009 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
|  |  | N-BTM-L3-02-010 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
|  |  | N-BTM-L3-03-001 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
|  |  | N-BTM-L3-03-002 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
|  |  | N-BTM-L3-03-003 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
|  |  | N-BTM-L3-03-004 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
|  |  | N-BTM-L3-03-005 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
|  |  | N-BTM-L3-03-006 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
|  |  | N-BTM-L3-03-007 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
|  |  | N-BTM-L3-03-008 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
|  |  | N-BTM-L3-03-009 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
|  |  | N-BTM-L3-03-010 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
|  |  | N-BTM-L3-04-001 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
|  |  | N-BTM-L3-04-002 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
|  |  | N-BTM-L3-04-003 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
|  |  | N-BTM-L3-04-004 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
|  |  | N-BTM-L3-04-005 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
|  |  | N-BTM-L3-04-006 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
|  |  | N-BTM-L3-04-007 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
|  |  | N-BTM-L3-04-008 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
|  |  | N-BTM-L3-04-009 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
|  |  | N-BTM-L3-04-010 | FULL RACK | Lantai 3 | 42 | U | 2016 | IT Hall Lt.3
9 | neuCentrIX Batam | Rack | Rak Server 42 U | Rak Server 19 " | Lantai 4 | 4 | Unit | 2023 | Meet Me Room Lt.4
|  |  | Rak Server 42 U | Rak Server 19 " | Lantai 4 | 80 | Unit | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-01-001 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-01-002 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-01-003 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-01-004 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-01-005 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-01-006 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-01-007 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-01-008 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-01-009 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-01-010 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-02-011 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-02-012 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-02-013 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-02-014 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-02-015 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-02-016 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-02-017 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-02-018 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-02-019 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-02-020 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-03-021 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-03-022 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-03-023 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-03-024 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-03-025 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-03-026 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-03-027 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-03-028 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-03-029 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-03-030 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-04-031 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-04-032 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-04-033 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-04-034 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-04-035 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-04-036 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-04-037 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-04-038 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-04-039 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-04-040 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-05-071 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-05-072 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-05-073 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-05-074 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-05-075 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-05-076 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-05-077 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-05-078 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-05-079 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-05-080 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-06-061 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-06-062 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-06-063 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-06-064 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-06-065 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-06-066 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-06-067 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-06-068 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-06-069 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-06-070 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-07-051 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-07-052 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-07-053 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-07-054 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-07-055 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-07-056 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-07-057 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-07-058 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-07-059 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-07-060 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-08-041 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-08-042 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-08-043 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-08-044 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-08-045 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-08-046 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-08-047 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-08-048 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-08-049 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
|  |  | N-BTM-L4-08-050 | FULL RACK | Lantai 4 | 42 | U | 2023 | IT Hall Lt.4
10 | neuCentrIX Batam | Panel | Panel Junction | Panel Junction | Lantai 1 | 1 | Unit | 2016 | Genset | PT. Bristol Technology | Preventive & Corrective
|  |  | Panel MDP | Panel MDP | Lantai 1 | 1 | Unit | 2016 | Utility Room | PT. Bristol Technology | Preventive & Corrective
|  |  | Panel UPS | Panel UPS | Lantai 1 | 2 | Unit | 2016 | Utility Room | PT. Bristol Technology | Preventive & Corrective
|  |  | Panel PAC | Panel PAC | Lantai 1 | 2 | Unit | 2016 | Utility Room | PT. Bristol Technology | Preventive & Corrective
|  |  | Panel Battery | Panel Battery | Lantai 1 | 1 | Unit | 2016 | Utility Room | PT. Bristol Technology | Preventive & Corrective
|  |  | Panel PDU | Panel PDU | Lantai 3 | 2 | Unit | 2016 / 2022 | IT Hall | PT. Bristol Technology | Preventive & Corrective
|  |  | Panel Penerangan | Panel Penerangan | Lantai 1 | 1 | Unit | 2016 | Koridor Staging Room | PT. Bristol Technology | Preventive & Corrective
11 | neuCentrIX Batam | PC Vam | PC | PC All In One 22DF1004D | Lantai 1 | 1 | Unit | 2022 | Lobby |  | -
|  |  | Webcam | Logitech C270 HD Webcam | Lantai 1 | 1 | Unit | 2022 | Lobby |  | -
12 | neuCentrIX Batam | Key Box | Box Kunci | Krisbow | Lantai 1 | 1 | Unit | 2022 | NOC Room |  | -
13 | neuCentrIX Batam | EMX | CONTROLLER RARITANS | IT HALL | Lantai 1 | 1 | Unit | 2022 | IT HALL | PT. Bristol Technology | Preventive & Corrective
|  |  | TEMP& HUM SENSOR | MMR, UPS, PAC, IT Hall | Lantai 1 dan 3 | 5 | Unit | 2022 | IT Hall,UPS, MMR, PAC, NER, & Battery Room | PT. Bristol Technology | Preventive & Corrective
|  |  | 7M ROPE WATER LEAKAGE | PAC | Lantai 1 dan 3 | 2 | Unit | 2022 | IT Hall,UPS, MMR, PAC, NER, & Battery Room | PT. Bristol Technology | Preventive & Corrective
|  |  | DUAL CONTAC CLOSURE | MMR, UPS, PAC, IT Hall | Lantai 1 dan 3 | 14 | Unit | 2022 | IT Hall,UPS, MMR, PAC, NER, & Battery Room | PT. Bristol Technology | Preventive & Corrective
14 | neuCentrIX Batam | CCTV LT4 | NVR 1 32 Chanel | DS-7732NI-K4 | Lantai 1 | 1 |  | 2022 | R. NOC
|  |  | NVR 2 32 Chanel | DS-7732NI-K4 | Lantai 1 | 1 |  | 2022 | R. NOC
|  |  | SWITCH 1 | K48489362 | Lantai 1 | 1 |  | 2022 | R. NOC
|  |  | SWITCH 2 | K62772501 | Lantai 1 | 1 |  | 2022 | R. NOC
|  |  | SWITCH 3 | K62772503 | Lantai 1 | 1 |  | 2022 | R. NOC
|  |  | MONITOR PC | CN42160X10 | Lantai 1 | 1 |  | 2022 | R. NOC
|  |  | TV SHARP 60" | 206717701 | Lantai 1 | 1 |  | 2022 | R. NOC
|  |  | TV SHARP 60" | 206717703 | Lantai 1 | 1 |  | 2022 | R. NOC
|  |  | PC CLIENT | 4CE221B1YR | Lantai 1 | 1 |  | 2022 | R. NOC
|  |  | UPS | GE08M28217 | Lantai 1 | 1 |  | 2022 | R. NOC
15 | neuCentrIX Batam | CCTV LT3 | NVR 1 16 Chanel | DS-7616NI-Q2/16P | Lantai 1 | 1 |  | 2022 | R. NOC
|  |  | NVR 2 16 Chanel | DS-7616NI-Q2/16P | Lantai 1 | 1 |  | 2022 | R. NOC
|  |  | TV SHARP 60" | 206717704 | Lantai 1 | 1 |  | 2022 | R. NOC
|  |  | TV SHARP 60" | 206717702 | Lantai 1 | 1 |  | 2022 | R. NOC
16 | neuCentrIX Batam | PAC LT4 | PAC 1 | Down Flow CLIMAVENETA DAU100-S S/N : A220501037/2022-06 | Lantai 4 | 120 | Kw | 2022 | IT Hall
|  |  | PAC 2 | Down Flow CLIMAVENETA DAU100-S S/N : A220501034/2022-06 | Lantai 4 | 120 | Kw | 2022 | IT Hall
|  |  | PAC 3 | Down Flow CLIMAVENETA DAU100-S S/N : A220501033/2022-06 | Lantai 4 | 120 | Kw | 2022 | IT Hall
|  |  | PAC 4 | Down Flow CLIMAVENETA DAU100-S S/N : A220501035/2022-06 | Lantai 4 | 120 | Kw | 2022 | IT Hall
17 | neuCentrIX Batam | AC STANDING | AC Standing 1 | FVRN125BXV14 | Lantai 1 | 12.31 | Kw | 2023 | Utility 1
|  |  | AC Standing 2 | FVRN125BXV14 | Lantai 1 | 12.31 | Kw | 2023 | Utility 1
|  |  | AC Standing 3 | FVRN125BXV14 | Lantai 1 | 12.31 | Kw | 2023 | Batrrey 2
|  |  | AC Standing 4 | FVRN125BXV14 | Lantai 1 | 12.31 | Kw | 2023 | Batrrey 2
|  |  | AC Standing 5 | FVRN125BXV14 | Lantai 4 | 12.31 | Kw | 2023 | Koridor lt4
|  |  | AC Standing 6 | FVRN125BXV14 | Lantai 4 | 12.31 | Kw | 2023 | MMR 1
|  |  | AC Standing 7 | FVRN125BXV14 | Lantai 4 | 12.31 | Kw | 2023 | MMR 2
18 | neuCentrIX Batam | AC SPLIT | AC Split 1 | FTC50NV14 | Lantai 1 | 2 pk | PK | 2023 | AC Split Utility 1
|  |  | AC Split 2 | FTC50NV14 | Lantai 1 | 2 pk | PK | 2023 | AC Split Utility 2
19 | neuCentrIX Batam | NETWORK Lantai 3 | Spine-1 | AS6812-32X | Lantai 3 | 681232X2033037 |  | 2023 | MMR
|  |  | Spine-2 | AS6812-32X | Lantai 3 | 681232X2033041 |  | 2023 | MMR
|  |  | Leaf-1 | DCS-7050SX3-48YC8-F | Lantai 3 | JMX2324A60A |  | 2023 | MMR
|  |  | Leaf-2 | DCS-7050SX3-48YC8-F | Lantai 3 | JMX2324A5ZJ |  | 2023 | MMR
|  |  | Leaf-3 | AS5812-54T | Lantai 3 | 581254T2214043 |  | 2023 | MMR
|  |  | Leaf-4 | AS5812-54T | Lantai 3 | 581254T2214041 |  | 2023 | MMR
20 | neuCentrIX Batam | NETWORK Lantai 4 | Spine-1 | AS6812-32X | Lantai 4 |  |  | 2023 | MMR 1
|  |  | Spine-2 | AS6812-32X | Lantai 4 |  |  | 2023 | MMR 1
|  |  | Leaf-1 | AS5812-54X | Lantai 4 |  |  | 2023 | MMR 1
|  |  | Leaf-2 | AS5812-54X | Lantai 4 |  |  | 2023 | MMR 1
|  |  | Leaf-3 | AS5812-54X | Lantai 4 |  |  | 2023 | MMR 1
|  |  | Leaf-4 | AS5812-54X | Lantai 4 |  |  | 2023 | MMR 1
|  |  | Leaf-5 | AS5812-54T | Lantai 4 |  |  | 2023 | MMR 1
|  |  | Leaf-6 | AS5812-54T | Lantai 4 |  |  | 2023 | MMR 1
|  |  | Leaf-7 | AS5812-54T | Lantai 4 |  |  | 2023 | MMR 1
|  |  | Leaf-8 | AS5812-54T | Lantai 4 |  |  | 2023 | MMR 2
|  |  | Leaf-9 | AS5812-54X | Lantai 4 |  |  | 2023 | MMR 2
|  |  | Leaf-10 | AS5812-54X | Lantai 4 |  |  | 2023 | MMR 2
|  |  | Leaf-11 | AS5812-54X | Lantai 4 |  |  | 2023 | MMR 2
|  |  | Leaf-12 | AS5812-54X | Lantai 4 |  |  | 2023 | MMR 2
|  |  | Leaf-13 | AS5812-54T | Lantai 4 |  |  | 2023 | MMR 2
|  |  | Leaf-14 | AS5812-54T | Lantai 4 |  |  | 2023 | MMR 2
|  |  | Leaf-15 | AS5812-54T | Lantai 4 |  |  | 2023 | MMR 2
|  |  | Leaf-16 | AS5812-54T | Lantai 4 |  |  | 2023 | MMR 2
21 | neuCentrIX Batam | UPS Lt4 | UPS A | ABB DPA Modular Frame | Lantai 1 | 5 x 50 | kVA | 2023 | Utility Room | PT. Vektor Daya Mekatrika | Garansi
|  |  | UPS B | ABB DPA Modular Frame | Lantai 1 | 5 x 50 | kVA | 2023 | Utility Room | PT. Vektor Daya Mekatrika | Garansi
|  |  | Battery Bank A | Batery Sunstone VRLA ML Series 12v 120ah AGM | Lantai 1 | 50 | Unit | 2023 | R. Battrey 2 | PT. Vektor Daya Mekatrika | Garansi
|  |  | Battery Bank B | Batery Sunstone VRLA ML Series 12v 120ah AGM | Lantai 1 | 50 | Unit | 2023 | R. Battrey 2 | PT. Vektor Daya Mekatrika | Garansi
|  |  |  | MENGETAHUI |  | Batam, 01 Mei 2026
|  |  |  | Manager DC Managed Service Area 1 TDE |  | Admin Access Control System
|  |  |  | Agung Dwiyanto |  | Agus Dwi Rianto
|  |  |  | NIK : 765047 |  | NIK : O202209028